Creator: Elena Cantero; Oscar Pires; Alvaro González

Reviewed on: 29/10/2025

License: Only for purposes of the AIRE project.

WindTurbine 5

Description: 1-minute and 10-minute raw and processed power production data from wind turbine number 5 (Gamesa G10X-132-5MW), located in Alaiz CENER’s experimental wind farm. csv files, each file contains 1 month of data. AIRE project.

Time period: January 2023 to the end of measurement campaign.

Files:

| File_name | Description | Size | # Files |
| --- | --- | --- | --- |
| WT5_Year_Month_1MRAW.csv | 1-minute raw power production data from wind turbine number 5. | 2 MB | 1 |
| WT5_Year_Month_1MPRO.csv | 1-minute raw power production data from wind turbine number 5. In these files invalid data are indicated with -9999 value. | 2 MB | 1 |
| WT5_Year_Month_10MRAW.csv | 10-minute raw power production data from wind turbine number 5 | 200 kB | 1 |
| WT5_Year_Month_10MPRO.csv | 10-minute raw power production data from wind turbine number 5. In these files invalid data are indicated with -9999 value. | 200 kB | 1 |

For each field in csv file:

| Field_name | Description | Variable | Unit |
| --- | --- | --- | --- |
| Date/Time | Date-Time in UTC. | Date and time |  |
| wtur_W_avg | Mean power production. | Mean power production | kW |
| wtur_W_max | Maximum power production. | Maximum power production | kW |
| wtur_W_min | Minimum power production. | Minimum power production | kW |
| wtur_W_std | Power production standard deviation. | Power production standard deviation | kW |